## Demographic Data
Study Participant # | Consent? | Date (YYYY/MM/DD) | Time | GA at birth (weeks) | GA current (weeks) | Birth weight (grams) | Current weight (grams) | Brand Name of PICC | Total Number of Pokes
1 | Y | 2018-06-23 | 14:30 | 28.8571 | 29.5714 | 1225 | 1155 | 0 | 1
2 | Y | 2018-06-24 | 2:30 | 28.7143 | 29.4286 | 1230 | 1090 | 0 | 1
3 | Y | 2018-06-25 | 14:45 | 28.7143 | 29.5714 | 1320 | 1260 | 0 | 3
3 | Y | 2018-06-26 | 14:30 | 28.7143 | 29.5714 | 1290 | 1310 | 1 | 2
12 | N | 2018-07-04 | ? | 30.1429 | 30.2857 | 1060 | 1060 | ? | 1
4 | Y | 2018-07-09 | 16:30 |  | 31.5714 |  | 965 | 0 | 2
11 | Y | 2018-07-09 | 14:49 | 23.5714 | 25.2857 | 530 | 620 | 0 | 3
5 | Y | 2018-07-11 |  | 28.5714 | 28.5714 | 1420 |  | 2 | 1
| Y | 2018-07-15 | 20:00 | 28.8571 | 32.8571 | 1225 | 1640 | 0 | 4
7 | N | 2018-07-17 | 16:00 | 35.8571 | 36 | 2380 | 2310 | 0 | 1
8 | Y | 2018-07-18 | 22:45 | 38.4286 | 38.5714 | 3880 | 3820 | 0 | 1
8 | Y | 2018-07-18 | 23:30 | 38.4286 | 38.5714 | 3880 | 3820 | 2 | 1
9 | Y | 2018-07-20 | 15:39 | 34 | 34.1429 | 2330 | 2160 | 1 | 2
9 | Y | 2018-07-21 | 23:00 | 34 | 34.2857 | 2330 | 2160 | 1 | 1
10 | Y | 2018-07-21 | 16:00 | 37.2857 | 37.2857 | 2540 |  | 1 | 3
10 | Y | 2018-07-22 | 21:00 | 37.2857 | 37.4286 | 2540 | 2470 | 1 | 2
12 | N | 2018-07-30 | 22:00 | 30.1429 | 32 | 1060 | 1485 | 1 | 1
7 | N | 2018-07-31 | 22:54 | 35.8571 | 38 | 2380 | 2440 | 0 | 1
10 | Y | 2018-07-31 | 13:00 | 37.2857 | 38.7143 | 2540 | 2610 | 0 | 3
10 | Y | 2018-08-01 | 13:50 | 37.2857 | 38.5714 | 2540 | 2700 | 0 | 4
13 | N | 2018-08-12 | 13:00 | 32.5714 | 33.7143 | 1615 | 1520 | 1 | 1
14 | N | 2018-08-15 | 13:00 | 38 | 39.2857 | 3130 | 3060 | 1 | 2
14 | N | 2018-08-15 | ? | 38 | 39.2857 | 3130 | 3060 | 1 | 2
15 | N | 2018-08-16 | 15:04 | 39 | 39.1429 | 4059 | 4095 | 1 | 2
16 | N | 2018-08-20 | 20:30 | 36.4286 | 36.5714 | 1965 | 2035 | 1 | 4
16 | N | 2018-08-21 | 11:00 | 36.4286 | 36.7143 | 1960 |  | 1 | 3
17 | N | 2018-08-23 | ? | 29.2857 | 29.7143 | 1115 | 1020 | 1 | 2
18 | N | 2018-08-28 | ? |  |  |  |  | 1 | 1
19 | N | 2018-09-02 | 14:00 | 35.5714 | 37.1429 | 4220 | 4313 | 0 | 1
20 | N | 2018-09-05 | 9:30 | 24.8571 | 25.1429 | 840 | 720 | 0 | 1
6 | N | 2018 | 18:13 | 26.7143 | 29.7143 | 900 | 1215 | 0 | 1
21 | N | 2018-09-29 | 20:30 | 32.4286 | 33.2857 | 1930 | 1790 |  | 2
22 | N | 2018-10-02 | 13:30 | 38.4286 | 38.8571 | 2760 | 2760 | 2 | 1
23 | Y | 2018-10-03 | 13:40 | 28 | 29.2857 | 945 | 1030 | 1 | 2
24 | N | 2018-10-03 | 22:00 | 38.8571 | 39.5714 | 3995 | 4160 | 1 | 1
24 | N | 2018-10-04 | 16:00 | 38.8571 | 39.7143 | 3995 | 3850 | 2 | 3
25 | Y | 2018-10-30 | 14:00 | 29.8571 | 31.1429 | 1060 | 1220 | 0 | 2
26 | Y | 2018-11-02 | 13:00-20:00 | 39.1429 | 39.1429 | 3675 | 3675 | 0 | 4
27 | N | 2018-11-17 | 15:30 | 27.5714 |  | 875 |  | 0 | 2
28 | Y | 2018-12-04 | 14:00 | 35 | 36 | 3610 | 3550 | 0 | 2
28 | Y |  | 16:30 |  |  |  |  | 0 | 3
29 | Y | 2018-12-06 | 16:00 | 29.8571 | 31 | 1260 | 1380 | 0 | 1
30 | Y | 2018-12-07 | 21:00 | 27.2857 | 28 | 895 | 795 | 0 | 1
31 | Y | 2018-12-19 | 15:00 | 38 | 38.1429 | 3350 | 2625 | 0 | 1
31 | Y | 2018-12-30 | ? | 38 | 41.1429 | 3350 | 2845 | 0 | 4
32 | Y | 2018-12-31 | 9:00 | 35.8571 | 36.8571 |  | 2430 | 0 | 1
33 |  | 2019-01-02 | 19:04 | 28 | 28.4286 | 1275 | 1125 | 1 | 1
31 | Y | 2019-01-03 | 15:00 | 38 | 41.8571 | 3350 | 3125 |  | 3
31 | Y | 2019-01-17 | 11:15 | 38 | 43.7143 | 3350 | 3205 | 0 | 3
31 | Y | 2019-02-06 | 19:15 | 38 | 46.7143 | 3350 | 3815 | 0 | 1
34 | Y | 2019-03-04 | 15:00 | 28.1429 | 29.1429 | 955 | 940 | 0 | 1
35 |  | 2019-03-12 | 15:00 | 38 | 40 | 3880 | 3440 | 0 | 2
36 | Y | 2019-03-18 | 14:30 | 40.8571 | 42 | 3815 | 4705 | 0 | 1
36 | Y | 2019-03-20 |  | 40.8571 | 42.2857 | 3815 | 4725 | 2 | 1
37 | Y | 2019-03-23 | 13:30 | 38.1429 | 39.1429 | 3030 | 3480 | 0 | 3
37 | Y | 2019-04-05 | 18:00 | 38.1429 | 40 | 3030 | 3170 | 0 | 1
37 | Y | 2019-04-07 | 17:23 | 38.1429 | 40.2857 | 3030 | 3360 | 0 | 3
37 | Y | 2019-04-08 | 15:30 | 38.1429 | 40.4286 | 3030 | 3480 | 0 | 1
38 | N | 2019-04-11 | 18:30 | 25.7143 | 31.2857 | 660 | 1500 | 0 | 1
39 | Y | 2019-04-12 | 10:00 | 33.7143 | 34.8571 | 2470 | 2320 | 0 | 4
39 | Y | 2019-04-12 | 12:40 | 33.7143 | 34.8571 | 2470 | 2320 | 0 | 3
40 | N | 2019-04-22 | 19:33 | 24.2857 | 23 | 530 | 590 | 0 | 2
41 | N | 2019-05-10 | 15:00 | 40 | 40.2857 | 3170 | 3170 | 0 | 1
41 | N | 2019-05-13 | 17:30 | 40 | 40.7143 | 3170 | 3175 | 0 | 3
41 | N | 2019-05-19 | 14:47 | 40 | 40.8571 | 3170 | 3175 | 0 | 3
42 | N | 2019-05-14 | 12:00 | 23.5714 | 25 | 550 | 675 | 0 | 2
43 | N | 2019-05-15 | 23:50 | 30 | 30.2857 | 1195 | 1080 | 0 | 1
44 | N | 2019-05-22 | 16:10 | 27.2857 | 27.8571 | 890 | 805 | 0 | 2
Note on D9: Not indicated -T K
Note on E7: Not indicated -T K
Note on G7: Not indicated -T K
Note on H9: Not indicated -T K
Note on I9: Can't read... Argyle? -T K
Note on I27: 1+2 MedComp+Argyle
Note on I49: Power PICC -T K

## PICC Procedure Attempt Data
Study Participant # | Date (YYYY/MM/DD) | Attempt Number | Un/Successful | Site of Insertion: Right or Left? | Site of Insertion | Dressing Used | PICC Tip Position | Type of Catheter Used | Catheter Lumen Size | PICC Line Trimmed? | If trimmed, how? | Complications | If complications encountered, what corrective measures were taken? Results?
1 | 2018-06-23 | 1 | 1 |  | 3 | 1 |  | 0 | 1 | 0 | 0 | None - easy to thread. | Difficult to visualize line on x-ray.
2 | 2018-06-24 | 1 | 1 |  | 3 | 1 | 1 | 0 | 1 | 0 | 0 | None - easy to thread. | N/A
3 | 2018-06-25 | 1 | 0 |  | 3
3 | 2018-06-25 | 2 | 0 |  | 3
3 | 2018-06-25 | 3 | 0 |  | 3
3 | 2018-06-26 | 1 | 0 |  | 3
3 | 2018-06-26 | 2 | 1 |  | 3 | 0 | 1 | 0 | 0 | 1 | 1 | None | N/A
12 | 2018-07-04 | 1 | 1 | 1 | 4 | 1 | 1 | 1 |  | 1 | 1 | None | N/A
4 | 2018-07-09 | 1 |  | 1 | 4 | 1 | 1 | 0 | 1 | 0 | 0
4 | 2018-07-09 | 2 |  | 1 | 4 | 1 | 1 | 0 | 1 | 0 | 0
11 | 2018-07-09 | 1 | 0 |  | 1 |  |  |  |  | 0 | 0 | Couldn't read x-ray
11 | 2018-07-09 | 2 | 0 | 0 | 3
11 | 2018-07-09 | 3 | 1 | 1 | 1 | 0 | 1 | 0 |  | 0 | 0
5 | 2018-07-11 | 1 | 1 |  | 4 | 1 | 1 | 1 | 0 | 1 | 1 | None | N/A
6 | 2018-07-15 | 1 | 0 | 0 | 4 | [6 empty] | Used light small vessel - blew, skin tough | Baby had 6 PIV attempts earlier (needed a line)
6 | 2018-07-15 | 2 | 0 | 0 | 1
6 | 2018-07-15 | 3 | 0 | 1 | 1 | [6 empty] | Same blew (small vessels) used light | Vygon needle got contaminated and none left on unit = unfortunate
6 | 2018-07-15 | 4 | 1 |  |  | 1 |  |  |  | 0 | 0 | None - tolerated well. Mother present.
7 | 2018-07-17 | 1 | 1 |  | 3 | 0 | 1 | 0 | 0 | 0 | 0 | Tip flipped, initially tried to pull back and flush with saline = did not work | A new guidewire was introduced through the PICC and it straightened out the tip; confirmed with U/S and X-ray
8 | 2018-07-18 | 1 | 0 | 1 | 2 |  |  | 1 | 0 | 0 |  | Used 1.9 fr. double lumen Vygon. Inserted to 13 cm unable to pull guidewire out (entire line would bulge/gather up with resistance) | Trialed repositioning = no success Trialed flushing line = unable to flush Line then pulled out
8 | 2018-07-18 | 1 | 0 | 1 | 4 |  |  | 1 | 0 | 1 | 1 | Initial flash back was very good, but then unable to thread line. Tried putting needle back in catheter and re-advancing but no success. | Line then removed.
9 | 2018-07-20 | 1 | 0 |  | 4 |  |  | 0 | 0 |  |  | Unable to thread. | Flush, guidewire removal, position changes
9 | 2018-07-20 | 2 | 0 |  | 1 | 0 | 1 | 0 | 0 | 1 | 1 | Up into the neck area. Pulled back too far. | No longer central used as PIV only.
9 | 2018-07-21 | 1 | 1 | 0 | 3 | 0 | 1 | 0 | 0 | 1 | 1
10 | 2018-07-21 | 1 | 0 | 0 | 3 |  |  | 0 | 0 | 1 | 1 | Unable to thread.
10 | 2018-07-21 | 2 | 0 |  | 3 |  |  |  |  | 1 | 1 | Unable to thread.
10 | 2018-07-21 | 3 | 0
10 | 2018-07-22 | 1 | 0 |  | 4
10 | 2018-07-22 | 2 |  |  | 2 | 0 |  |  |  | 1 | 1 | Unable to get blood when advanced so thought was coiling in axilla but was at costal margin ...? | ... x-ray - was able to advance more
12 | 2018-07-30 | 1 | 1 |  | 4 | 0 | 1 | 0 | 0 | 0 | 0 | Inserted too deep (inserter's fault) | Line pulled back and x-ray repeated
7 | 2018-07-31 | 1 |  |  | 2 | 1 |  | 0 | 1 | 1 | 3 | Repeat x-ray AP b/c arms malplaced both (up)(up) PICC in RV. | Arms (down) PICC in SVC
10 | 2018-07-31 | 1 | 0 | 1 | 5 |  |  | 0 | 1
10 | 2018-07-31 | 2 | 0 | 0 | 3 |  |  | 0 | 1
10 | 2018-07-31 | 3 | 1 | 0 | 3 | 1 | 1 | 0 | 1 | 0 | 0 | Note: used a wire via an existing PIV in right foot. Once wire in, pulled out PIV and threaded steel needle over wire (tired plastic 24 gauge but did not work) then removed wire and threaded 1 fr. line through steel needle. Was successful
10 | 2018-08-01 | 1 | 0 |  | 5
10 | 2018-08-01 | 2 | 0 |  | 6
10 | 2018-08-01 | 3 | 1 |  | 4
13 | 2018-08-12 | 1 | 1 |  | 5 | 0 | 1 | 0 | 0 | 1 | 1 | None | N/A
14 | 2018-08-15 | 1 | 0 |  | 0 |  |  | 0 | 0 | 1 | 1 | Unable to thread. | Retried - re-inserted needle and tried below, unsuccessful
14 | 2018-08-15 | 2 | 0 |  | 0 |  |  | 0 | 0 | 1 | 1 | Unable to thread. | Tried to re-insert below, unsuccessful.
14 | 2018-08-15 | 1 | 0 |  | 0 |  |  | 0 | 0 | 1 | 1 | Needle through vein.
14 | 2018-08-15 | 2 | 0 |  | 0 |  |  | 0 |  | 1 | 1 | Vein accessed, would not thread past ear, would draw blood to flush at 4cm | Despite multiple repositioning, line would not thread.
15 | 2018-08-16 | 1 | 0 | 0 | 4 | [6 empty] | Unable to thread (likely went through the vessel) | Tried re-inserting needle but no success.
15 | 2018-08-16 | 2 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 1 | 1 | None | N/A
16 | 2018-08-20 | 1 | 0 |  | 3 |  |  | 0 | 0 | 0 | 0 | Unable to thread. | None
16 | 2018-08-20 | 2 | 0 |  | 5 |  |  | 0 | 0 | 0 | 0 | Blood in introducer as withdrawing. Had gone through vessel without flash. | None
16 | 2018-08-20 | 3 | 0 |  | 5 |  |  | 0 | 0 | 0 | 0
16 | 2018-08-20 | 4 | 0 |  | 3 |  |  | 0 | 0 | 1 | 1 | Thread 2.3cm, good blood return and flushing but not threading further; then bruise appeared as trying to advance further ? guide wire related. | Tried gentle advancing while flushing prior to bruise appearing.
16 | 2018-08-21 | 1 | 0 |  | 4 |  |  | 0 | 0 | 0 | 0 | Into vessel, unable to thread line, beyond 5cm, tried double lumen.
16 | 2018-08-21 | 2 | 0 |  | 2 | [6 empty] | When needle removed, inserted lifted bond? to reach for line and infant moved arm and ? came out of arm (was only inserted minimally).
16 | 2018-08-21 | 3 | 0 |  | 2 |  |  | 0 |  |  |  | Tried above cephalic initial insertion, good flash, tried double lumen, but unable to thread >5-6cm, then tried single lumen and no success.
17 | 2018-08-23 | 1 | 0 | 1 | 4 |  |  | 0 | 0 | 1 | 1 | Needle through back of vein.
17 | 2018-08-23 | 2 | 1 | 1 | 3 | 0 | 1 | 0 | 0 | 1 | 1 | None | N/A
18 | 2018-08-28 | 1 | 1 |  | 0 | 1 | 0 | 0 | 0 | 1 | 1 | Difficult to get across neck, pull back to blood????
19 | 2018-09-02 | 1 | 1 | 1 | 0 |  | 1 |  |  | 0 | 0 | Can't see tip - non radio?. Only spider veins available so used Vygon cause I like needle. | Success.
20 | 2018-09-05 | 1 | 1 | 1 | 4 | 1 | 1 | 0 | 1 | 0 | 0 | None | N/A
6 | 2018 | 1 | 1 | 1 | 3 |  | 1 | 0 | 1 | 0 | 1 | Difficult to thread - bounced back several times. On CXR - line in too deep. Pulled back by 3cm.
21 | 2018-09-29 | 1 | 0
21 | 2018-09-29 | 2 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 1 | Unable to thread past shoulder - but not central | Positioning changing, flushing, removing guidewire. Tip in axilla.
22 | 2018-10-02 | 1 | 1 | 1 | 2 | 0 |  | 1 | 0 | 1 | 1 | 0 - error - on XR, flipped up in neck | Line pulled back 3cm and no longer in neck
23 | 2018-10-03 | 1 | 0
23 | 2018-10-03 | 2 | 1 |  | 1 | 0 | 1 | 0 | 0 | 1 | 1
24 | 2018-10-03 | 1 | 1 | 0 | 2 | 2 | 0 | 0 | 0 | 1 | 1 | Line inserted to 12cm without difficulty (needed 14-15cm for central position); unable to withdraw blood. Unable to thread beyond 12cm. | Repositioning; removal of guidewire and re-inserting (drew back ~2cm) flushing and attempting to re-insert. No success. Line pulled to 11cm, then 10cm, then 9cm. Blood at 9cm but not central position thus line removed.
24 | 2018-10-04 | 1 | 0 | 0 | 3 |  |  | 1 | 0 | 0 | 0 | Good blood flow, unable to thread
24 | 2018-10-04 | 2 | 0 | 0 | 3 |  |  | 1 |  | 0 | 0 | Unable to thread
24 | 2018-10-04 | 3 | 1 | 0 | 4 |  |  | 1 |  | 0 | 0 | Unable to thread
25 | 2018-10-30 | 1 | 0
25 | 2018-10-30 | 2 | 1 |  | 2 |  | 1 | 0 | 1 | 0 | 0 | None
26 | 2018-11-02 | 1 | 0 | 0 | 2 | 0 |  | 0 | 0 | 0 | 0
26 | 2018-11-02 | 2 | 0 | 0 | 3 | 0 |  | 0 | 0 | 0 | 0
26 | 2018-11-02 | 3 | 0 | 0 | 4 | 0 |  | 0 | 0 | 0 | 0
26 | 2018-11-02 | 4 | 0 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | Saphenous successful but malplaced. Spinal vein and looped (non-central). In spine and flipped, pulled back x2 still looped. New line advanced ??? | Pulled back to groin saphenous (??)
27 | 2018-11-17 | 1 | 0
27 | 2018-11-17 | 2 | 1 | 1 |  | 1 | 1 | 0 | 0 | 1 | 3 | 1st poke interstitial. 2nd poke successful. Difficult to thread last 3 cm.
28 | 2018-12-04 | 1 | 0 | 1 | 2 | [6 empty] | Blood return but unable to thread (likely went through vessel)
28 | 2018-12-04 | 2 | 0 | 0 | 2 | [6 empty] | Unable to thread beyond 8cm | Repositioning, advancing needle. Changing to 1fr line. No success.
28 |  | 1 | 0 |  | 3 |  |  |  |  | 1 |  | Couldn't see when ? applied, had CA hold
28 |  | 2 | 0 |  | 0 |  |  |  |  | 1 |  | Blood difficult to see
28 |  | 3 | 1 | 0 | 0 | 0 |  | 0 | 1 |  |  | Insertion needle meant to be for a 2fr was a 1fr. so scrambled for a 1fr line.
29 | 2018-12-06 | 1 | 1 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | Unable to thread beyond 8.8cm. | Repositioning (no success); removal of wire (no success)
30 | 2018-12-07 | 1 | 1 |  | 2 | 0 | 1 | 0 | 1 | 0 | 0 | On 1st XR, line was flipped = pulled back 2cm and was okay on XR in SVC.
31 | 2018-12-19 | 1 | 1 | 0 | 5 | 1 | 1 | 0 | 0 | 0 | 0 |  | No complications.
31 | 2018-12-30 | 1 | 0 | 1 | 3 |  | 1 | 0 | 0 | 1 | 3 | Bruised vein.
31 | 2018-12-30 | 2 | 0 | 0 | 0 |  |  | 0 | 0 | 1 | 3 | Bruised vein.
31 | 2018-12-30 | 3 | 0 | 1 | 0 |  |  | 0 | 0 | 1 | 3 | Bruised vein.
31 | 2018-12-30 | 4 | 0 |  | 1 |  |  | 0 | 0 | 1 | 3 | Bruised vein.
32 | 2018-12-31 | 1 | 1 | 0 | 2 | 1 |  | 0 | 0 | 1 | 3
33 | 2019-01-02 | 1 | 0 | 0 | 3 | 1 |  |  | 0 | 1 | 3 | Tear away needle - no flush, but thread and blood return (this is my 3rd #2 break away that has not given flush) | Felt line was in so threaded and then there was blood return
31 | 2019-01-03 | 1
31 | 2019-01-03 | 2
31 | 2019-01-03 | 3 | 1 | 1 | 6 |  | 1 |  |  | 1 | 3 | Placed in the OR under ultrasound guided - 3fr.
31 | 2019-01-17 | 1
31 | 2019-01-17 | 2
31 | 2019-01-17 | 3 | 1 | 1 | 2 | 1 | 1 | 0 | 0 | 0 | 0
31 | 2019-02-06 | 1 | 1 | 1 | 2 |  | 1 | 0 | 0 | 1 | 3 | PICC line was cracked @ insertion and was leaking under sterile technique, old line cut and introducer wire over old line removed and new line inserted
34 | 2019-03-04 | 1 | 1 | 0 | 2 | 1 |  | 0 | 0 | 1 | 3 | No complications.
35 | 2019-03-12 | 1 | 0 | 1 | 3 |  |  |  |  | 0
35 | 2019-03-12 | 2 | 1 | 1 | 2 | 1 | 1 | 0 | 0 | 0 |  | Could not withdraw guidewire when the PICC line went into SVC. Had to withdraw line to subclavian in order to withdraw guidewire.
36 | 2019-03-18 | 1 |  |  | 4 | 1 |  | 1 | 0 | 0 | 0
36 | 2019-03-20 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 3 | No complications
37 | 2019-03-23 | 1 | 0 | 0 | 2 |  |  | 0 | 0 | 1 | 3 | Unable to thread
37 | 2019-03-23 | 2 | 0 | 0 | 4 |  |  |  | 0 | 1 | 3 | Unable to thread
37 | 2019-03-23 | 3 | 0 | 0 | 4 |  |  |  | 0 | 1 | 3 | Difficult to thread
37 | 2019-04-05 | 1 | 1 | 0 | 2 | 1 | 1 | 0 |  | 1 | 3 | None
37 | 2019-04-07 | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 1 | 3 | Unable to thread
37 | 2019-04-07 | 2 | 0 | 0 | 0 |  |  | 0 | 0 | 1 | 3 | Unable to thread
37 | 2019-04-07 | 3 | 0 | 0 | 0 |  |  |  | 0 | 1 | 3
37 | 2019-04-08 | 1 | 1 | 1 | 2 | 1 | 0 | 0 | 0 | 1 | 3 | Unable to thread past shoulder | Left as good blood flow back
38 | 2019-04-11 | 1 | 1 | 1 | 4 | 1 | 1 | 0 | 1
39 | 2019-04-12 | 1 | 0 | 1 | 5 |  |  | 1 | 0 | 0 | 0 | Interstitial
39 | 2019-04-12 | 2 | 0 | 0 | 4 |  |  | 1 | 0 | 0 | 0
39 | 2019-04-12 | 3 | 0 | [8 empty] | Wire over PIV = wire slipped out of vessel while removing PIV
39 | 2019-04-12 | 4 | 1 | 0 | 1 |  |  | 0 | 1 | 1 | 3
39 | 2019-04-12 | 1 | 0 | 0 | 4 | [6 empty] | Unable to thread
39 | 2019-04-12 | 2 | 0 | 0 | 2
39 | 2019-04-12 | 3 | 0 |  | 0 | [6 empty] | Unable to thread
40 | 2019-04-22 | 1 | 0 | 0 | 3 |  |  | 0 | 1 | 0 | 0 | Vein too small for 24 gauge introducer needle | Will need
40 | 2019-04-22 | 2 | 0 | 1 | 3 |  |  | 0 | 1
41 | 2019-05-10 | 1 | 0 |  | 2 |  | 0 | 0 | 0 | 0 | 0 | Unable to thread past 11cm and get blood return | Attempted reposition numerous times. Wire pulled out and repositioned, again no success. Sterile x-ray showed curved in innominate/axillary vessel. Pulled to 5cm and will used as long IV.
41 | 2019-05-13 | 1 | 0 | 1 | 4 |  | 0 | 0 | 0 |  |  | Went through vein
41 | 2019-05-13 | 2 | 0 | 1 | 2 |  | 0 | 0 | 0 |  |  | Could not thread over shoulder (couldn't get beyond 11cm) | Tried 2 fr. first in left cephalic - couldn't thread past 11cm. Then tried 1 fr. line but some issue. Tried adjusting wire, repositioning many times. No success. Lined pulled
41 | 2019-05-13 | 3 | 0 | 1 | 2 |  |  | 0 | 1
41 | 2019-05-14 | 1 | 0 | 1 | 3 |  |  |  | 0 |  |  | Unable to thread
41 | 2019-05-14 | 2 | 0 | 0 | 2 |  |  |  | 0 |  |  | Unable to thread
41 | 2019-05-14 | 3 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 3
42 | 2019-05-14 | 1 | 0 | 0 | 4 | [6 empty] | Unable to thread
42 | 2019-05-14 | 2 | 1 | 0 | 2 | 1 | 1 | 0 |  | 1 | 3 | Initially flipped back in itself (done under sterile technique) pulled out and rethreaded
43 | 2019-05-15 | 1 | 1 | 1 | 3 | 1 | 1 | 0 | 0 | 1 | 3 | None
44 | 2019-05-22 | 1 | 0 | 1 | 2 |  |  | 0 | 1 |  |  | Unable to thread past shoulder
44 | 2019-05-22 | 2 | 1 | 1 | 3 | 1 | 1 | 0 | 1 | 0 | 0 | Tip flipped initially but done sterile so able to pull back and re-thread. Line central, in IVC.
Note on E2: Not indicated -T K
Note on F37: Femoral
Note on F92: Femoral -T K
Note on G14: 0+1 Used teddybear and tegaderm. Not sticky and used tegaderm around edges. -T K
Note on G64: N/A -T K
Note on H2: Not indicated -T K
Note on H81: Mid-clavicular -T K
Note on I52: 0+1 Single+double
Note on J92: 3fr. -T K
Note on K25: to 30cm

## List Sources
0 | Vygon | 0 | Unsuccessful | 0 | Right | 0 | Scalp | 0 | Teddybear dressing
1 | MedComp | 1 | Successful | 1 | Left | 1 | Axillary | 1 | Tegaderm
2 | Argyle/Argon |  |  |  |  | 2 | Cephalic | 2 | Other
[6 empty] | 3 | Saphenous
[6 empty] | 4 | Basilic
[6 empty] | 5 | Popliteal
[6 empty] | 6 | Other
0 | Noncentral | 0 | Single-lumen | 0 | 2 fr. | 0 | No | 0 | N/A
1 | Central | 1 | Double-lumen | 1 | 1 fr. | 1 | Yes | 1 | Scissors
[8 empty] | 2 | Scalpel blade
[8 empty] | 3 | Guillotine
[8 empty] | 4 | Other
| TOTAL SUCCESSFUL INSERTIONS |  |  | 45